{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["直流接触器产品需求表","英文"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"直流接触器产品需求表","index":0,"n_rows":51,"n_cols":14,"rows_kept":51,"merged":[[0,2,0,5],[1,2,1,5],[3,0,3,4],[3,6,3,7],[4,0,4,4],[4,6,4,7],[5,0,5,4],[5,6,5,7],[6,0,9,4],[6,6,6,7],[7,6,7,7],[8,6,8,7],[9,6,9,7],[43,1,44,7],[46,1,48,7],[49,6,49,7],[50,6,50,7]],"flags":["formulas_cached_only"]}
[null,null,"浙江三佑电气有限公司"]
[null,null,"直流接触器产品需求应用条件表"]
[]
["客户名称：",{"$nulls":4},"日期："]
[{"$nulls":5},"联系人："]
["客户地址：",{"$nulls":4},"电话："]
[{"$nulls":5},"传真："]
[{"$nulls":5},"电子邮件："]
[{"$nulls":5},"QQ/微信："]
[{"$nulls":5},"网址："]
[]
[{"$nulls":3},"正常值",null,"最小值",null,"最大值",{"$nulls":5}," "]
[1,"*主触头电流（A）"]
[2,"*主触头电压（V）"]
[3,"主触头负载持续时间（分）"]
[4,"触头闭合时带负载",null,"□是",null,"□否"]
[5,"触头分开时带负载",null,"□是",null,"□否"]
[6,"负载类型",null,"□阻性",null,"□感性",null,"□容性"]
[7,"*主触头触点类型",null,"□单刀单掷-1常开",null,"□单刀单掷-1常闭",null,"□单刀单掷-1保持"]
[{"$nulls":3},"□单刀双掷-1开1闭",null,"□单刀双掷-2保持",null,"□双刀双掷-2开2闭"]
[{"$nulls":3},"□马达反向",null,"□其它"]
[8,"说明三佑直流接触器型号（如果知道）"]
[9,"线圈供电电源类型",null,"□蓄电池",null,"□稳压电源，稳压电源最大允许输出电流：   A"]
[{"$nulls":3},"□整流电源",null,"□转换器，转换器电源最大允许输出电流：   A"]
[null,"线圈要求",null,"正常值",null,"最小值",null,"最大值"]
[10,"环境温度（℃）"]
[11,"*线圈电压（V）"]
[12,"工作制",null,"□持续（100%负载因数）",null,"□一般持续（90%负载因数）"]
[{"$nulls":3},"□断续（70%负载因数）",null,"□非常断续（25%负载因数）"]
[13,"通断频率"]
[14,"占空比"]
[15,"附加特性",null,"□辅助触点",null,"□线圈抑制（续流二极管）",null,"□负载预充电阻"]
[{"$nulls":3},"□吹磁",null,"□配支架"]
[16,"如果需要支架请说明类型"]
[17,"安装角度",null,"□水平",null,"□垂直",null,"□其他"]
[18,"主触头接线柱是否有要求",null,"□是：",null,"□否"]
[19,"线圈接线柱是否有要求",null,"□是：",null,"□否"]
[20,"对产品外壳的温度是否有要求",null,"□是：≤   ℃",null,"□否"]
[21,"产品是否需要尺寸要求",null,"□是：",null,"□否"]
[22,"产品是否需要环保要求",null,"□是：",null,"□否"]
[23,"产品是否要求防护等级",null,"□是：",null,"□否"]
[24,"如果用于替代其它产品，被替代产品的型号："]
[25,"说明使用设备类型（电动车、静态场合、电信）："]
[]
[]
[26,"是否还有其它要求说明（如线圈功耗、控制方式等说明）："]
[]
[]
[]
[null,"注：带“*”标记必须填写",{"$nulls":4},"更新日期：2013.05.10"]
[{"$nulls":6},"版本 1.1"]

{"sheet":"英文","index":1,"n_rows":51,"n_cols":14,"rows_kept":51,"merged":[[0,2,0,5],[1,2,1,5],[3,0,3,4],[3,6,3,7],[4,0,4,4],[4,6,4,7],[5,0,5,4],[5,6,5,7],[6,0,9,4],[6,6,6,7],[7,6,7,7],[8,6,8,7],[9,6,9,7],[43,1,44,7],[46,1,48,7],[49,6,49,7],[50,6,50,7]],"flags":["formulas_cached_only"]}
[null,null,"ZHEJIANG SAYOON ELECTRIC CO.,LTD."]
[null,null,"DC Contactor Technical Applications Form"]
[]
["Customer Full Name:",{"$nulls":4},"Date:"]
[{"$nulls":5},"Contact Name:"]
["Address:",{"$nulls":4},"Telephone:"]
[{"$nulls":5},"Fax:"]
[{"$nulls":5},"Email:"]
[{"$nulls":5},"QQ/WeChat:"]
[{"$nulls":5},"Website:"]
[]
[{"$nulls":3},"Nominal",null,"Minimum",null,"Maximum",{"$nulls":5}," "]
[1,"*Load Current(A)"]
[2,"*Load Voltage(V)"]
[3,"Load Duration(Mins)"]
[4,"Contacts Closing on Load",null,"□Yes",null,"□No"]
[5,"Contacts Opening on Load",null,"□Yes",null,"□No"]
[6,"Type of Load",null,"□Resistive",null,"□Inductive",null,"□Capacitive"]
[7,"*Main Contact Configuration",null,"□SPST-1NO",null,"□SPST-1NC",null,"□SPST-1NK"]
[{"$nulls":3},"□SPDT-1NO 1NC",null,"□SPDT-2NO",null,"□DPDT-2NO 2NC"]
[{"$nulls":3},"□Motor Reverse",null,"□Other"]
[8,"State SAYOON DC Contactor Type Number(If Know)"]
[9,"Coil Power Type",null,"□Battery",null,"□Regulated Power, Maximum Current：  A"]
[{"$nulls":3},"□Rectifier Power",null,"□Converter Power, Maximum Current：  A"]
[null,"Coil Rating",null,"Nominal",null,"Minimum",null,"Maximum"]
[10,"Ambient Temp (℃)"]
[11,"*Coil Voltage (V)"]
[12,"Work Specification",null,"□Continuous(100%Duty)",null,"□Prolonged(90%Duty)"]
[{"$nulls":3},"□Intermittent(70%Duty)",null,"□Hihg Powered(25%Duty)"]
[13,"Frequency fo Switching"]
[14,"Duty Cycle"]
[15,"Additional Features",null,"□Auxiliary Contacts",null,"□Coil Suppression",null,"□Load Pre Charge"]
[{"$nulls":3},"□Magnetic Blowuts",null,"□Brackets"]
[16,"If Brackets are Required, Please Specify Type"]
[17,"Mounting Attitude ",null,"□Horizontal",null,"□Vertical",null,"□Other"]
[18,"Whether the Main Contact Terminal Is Required",{"$nulls":3},"□Yes：",null,"□No"]
[19,"Is There a Requirement For the Coil Terminal",{"$nulls":3},"□Yes：",null,"□No"]
[20,"Temperature Requirements for Product Enclosure",{"$nulls":3},"□Yes:≤   ℃",null,"□No"]
[21,"Does the Product Require Size Requirements",{"$nulls":3},"□Yes：",null,"□No"]
[22,"Requires Environmental Protection Requirements",{"$nulls":3},"□Yes：",null,"□No"]
[23,"Whether the Protection Level is Required",{"$nulls":3},"□Yes：",null,"□No"]
[24,"If Used In Place of Other Products, the Model of the Substitute Product"]
[25,"Specify Application Type (Electric Vehicle,Static,Telecommunications etc.):"]
[]
[]
[26,"Whether There Are Other Requirements (Such As the Coil Power, Control Methods, etc.):"]
[]
[]
[]
[null,"Note: With \"*\" Mark Must Be Filled in.",{"$nulls":4},"Update Date: May/10/2013"]
[{"$nulls":6},"Ver 1.1"]